**TITLE 12**

PUBLIC SERVICES

CHAPTER 12

**SEWER PRETREATMENT PLAN for the TOWN of PATAGONIA**

**Article 12 – 6 USE OF PUBLIC SEWERS**

12-6-1 Purpose and Policy

12-6-2 Intent

12-6-3 Administration

12-6-4 Authority to Enforce

12-6-5 Enforcement Jurisdiction of Town

12-6-6 User Requirements

12-6-7 Prohibited Discharges

12-6-8 Local Limits

12-6-9 Town’s Right of Revision

12-6-10 Pretreatment Facilities

12-6-11 Disposal of Pretreatment Sludge

12-6-12 Significant Non-Compliance a Civil Violation

12-6-13 Severe Non-Compliance a Criminal Violation

12-6-14 Interference with Enforcement Procedure

**Article 12 – 6 Sewer Pretreatment**

1. – 6 – 1 Purpose and Policy

This article sets forth uniform requirements for users of the Publicly Owned Treatment Works (POTW) for the Town of Patagonia, hereinafter referred to as "town" and enables the town to comply with all applicable state and federal laws, including the Clean Water Act (33 United States Code §l 251 et seq.) and the General Pretreatment Regulations (40 Code of Federal Regulations, Part 403). The objectives of this article are to:

1. Prevent the introduction of pollutants into the Publicly Owned Treatment Works that will interfere with its operation and efficient functioning of its parts;
2. Prevent the introduction of pollutants into the Publicly Owned Treatment Works that will pass through the Publicly Owned Treatment Works, inadequately treated, into receiving waters, or otherwise be incompatible with the Publicly Owned Treatment Works;
3. Protect both Publicly Owned Treatment Works personnel who may be affected by wastewater and sludge in the course of their employment and the general public;
4. Promote reuse and recycling of industrial wastewater and sludge away from the Publicly Owned Treatment Works;
5. Enable the town to comply with its Arizona Pollutant Discharge Elimination System permit conditions, sludge use and disposal requirements, and any other federal or state laws to which the Publicly Owned Treatment Works is subject;
6. Promote waste minimization and pollution prevention; and,
7. Protect the environment.

This article shall apply to all persons discharging to the Publicly Owned Treatment Works. This article establishes discharge prohibitions/limitations; authorizes the issuance of wastewater discharge permits; provides for monitoring, compliance, and enforcement activities; established administrative review procedures; requires user reporting; and provides for the setting of fees for the equitable distribution of costs resulting from the program established herein.

1. – 6 – 2 Intent

This chapter is intended to:

1. Establish pollutant discharge limits for wastewater discharged into the Publicly Owned Treatment Works;
2. Establish the authority for the Town Manager to designate a Director of Public Works to implement and enforce the provisions of this code;
3. Establish a requirement for pretreatment of wastewater that does not meet the pollutant limitations;
4. Establish steps the town will use to monitor and enforce the discharge limitations to protect water and bio-solids resources; and,
5. Establish special procedures for receiving and processing discharges from septic pumpers.
6. – 6 – 3 Administration
7. The provisions of this code shall be administered and enforced by the Town Manager or the designated Director of Public Works, and such other officers or employees of the town as the Town Manager may approve, direct, or designate.
8. The designated Director of Public Works shall be responsible to develop, implement and enforce policies, procedures, and/or guidelines to ensure the water reclamation facility pretreatment design, permitting, and discharge limitation requirements are met by all users of sewer system.
9. As such, a written inventory or survey of each significant industrial user will be conducted to determine permit status.
10. Results of the survey or inventory will be analyzed and appropriate measures will be established, in the form of an industrial wastewater permit, to ensure the Publicly Owned Treatment Works is protected.
11. – 6 – 4 Authority to Enforce

Authorization for the regulations set forth in this chapter is granted to the Town of Patagonia pursuant to Arizona Revised Statutes §9-240(B)(5)(a) as such may be amended from time to time.

1. – 6 – 5 Enforcement Jurisdiction of Town

Jurisdiction for enforcement of the regulations set forth in this chapter is granted to the Town of Patagonia pursuant to Arizona Revised Statutes §9-240(B)(25)(b) as such may be amended from time to time and all proceedings to enforce the provisions of this article, whether civil or criminal, shall be in the Town of Patagonia Magistrate Court.

1. – 6 – 6 User Requirements
2. No person shall uncover, make any connections with, open into, use, alter or disturb any part of the POTW, or appurtenance thereof, without first obtaining written approval from the town.
3. No person shall maliciously, willfully or negligently break, damage, destroy, uncover, deface or tamper with any part of the POTW, or appurtenance thereof.
4. All users of the POTW within the town shall be in compliance with the requirements of this chapter.
5. Users of the sewer system will be required to follow, at their own expense, any policies, procedures or guidelines established by the town to ensure adherence to the proper pretreatment and discharge limitation requirements.
6. No person shall discharge, or cause to be discharged, any storm water, surface water, ground water, roof runoff, subsurface drainage, cooling water, swimming pool water, or unpolluted industrial process waters to any sanitary sewer, without complying with the requirements of this chapter.
7. No person shall discharge, or cause to be discharged, any pollutant or wastewater that causes pass-through or interference of the treatment process.
8. Any person considered a non-residential or industrial user shall not discharge, or cause to be discharged, any industrial wastewater directly or indirectly to the POTW, without first meeting with town staff to complete an inventory or survey of discharges and potential discharges, then staff shall determine it the user shall be categorized as:
9. Non-significant industrial user:

After conducting the survey, if town staff determines the user to be a non- significant industrial user, the user may discharge wastewater into the POTW, providing they remain in compliance with this chapter in its entirety; or,

1. Significant industrial user:
   * 1. After conducting the survey, if Town staff determine the user to be a significant industrial user, the user will be required to comply with all of its requirements before discharge of wastewater into the POTW can occur; and,
     2. Additionally, any costs associated with adhering to the permit, such as testing, pretreatment, maintenance of facility equipment, and reporting shall be at the user's expense.
2. No wastewater hauler or septic pumper shall discharge septic waste or other wastes into the POTW.
3. It shall be a violation of this chapter for anyone to discharge wastewater, industrial wastes, industrial process waters, or hauled wastewater anywhere within the town limits.
4. – 6 – 7 Prohibited Discharges
5. General Prohibitions. No person shall introduce or cause to be introduced into the POTW any pollutant or wastewater which causes pass through or interference. These general prohibitions apply to all persons discharging to the POTW whether or not they are subject to categorical pretreatment standards or any other national, state, or local pretreatment standards or requirements.
6. Specific Prohibitions. No person shall introduce or cause to be introduced into the POTW the following pollutants, substances, or wastewater:
   1. Any liquid or vapor having a temperature higher than 150° F at the point of discharge, or 104° F at the treatment plant headworks.
   2. Any water or waste that may contain more than 100 milligrams per liter by weight, including: fat, mineral, organic oil, grease, or any waste that may form persistent oil emulsions.
   3. Any gasoline, benzene, naptha, fuel oil, or other flammable or explosive liquid, solid or gases:
      1. Waste streams with a closed cup flashpoint of less than 140° F (or 60° C), using the test methods specified in 40 C.F.R. pt. 261.61; or,
      2. Pollutants that exceed l 0% of the lower explosive limit at any point within the POTW for any single reading, or more than 5% for any two consecutive readings.
   4. Any solid waste or viscous matter:
      1. Any garbage or vegetable parings of any kind; not to include discharges from domestic garbage disposals; or,
      2. Any ashes, cinder, sand, mud, straw, shavings, metal, glass, rags, feathers, tar plastic, wood, paunch manure, grits such as brick, cement, stone carbide or any other solid or viscous substance capable of causing obstruction to the flow in sewers, or other interference with the proper operation of wastewater treatment facilities.
   5. Any waters or wastes having a pH lower than 5.5 or higher than 9, or having other corrosive property capable of causing damage or hazard to structures, equipment and personnel of wastewater treatment facilities.
   6. Any pollutant, including oxygen-demanding pollutants (BOD, etc.) released in a discharge at a flow rate and/or concentration that, either singly or by interaction with other pollutants, that will cause interference with the POTW.
   7. Any water or wastes containing a toxic or poisonous substance in sufficient quantity to injure or interfere with any wastewater treatment process, constitute a hazard to humans or animals, or create any hazard in the receiving waters of the wastewater treatment facilities. This includes noxious or malodorous liquids, solids or gases that, either singly or by interaction with other wastes:
      1. Are sufficient to create a public nuisance or a hazard to life; or
      2. Are sufficient to prevent entry into the sewers for maintenance and repair; or
      3. May result in the presence of toxic gases, vapors or fumes within the POTW in a quantity that may cause acute worker health and safety problems; or
      4. Are sufficient to cause the effluent (alone or in conjunction with other sources) to fail a toxicity test.
   8. Any waters or wastes containing suspended solids of a character or quantity that requires unusual attention or expense for their handling in the wastewater treatment facilities.
   9. Any noxious or malodorous gas or substance capable of creating a public nuisance.
   10. Any waters or wastes containing strong acid, pickling wastes or concentrated plating solutions whether neutralized or not.
   11. Any wastewater, pollutants or septage tracked or hauled at discharge points that have not been designated and permitted by the Department of Public Works.
   12. Any waste or water containing metals, such as lead, mercury, chromium and cadmium, that cannot be destroyed or broken down through treatment.
   13. Any waste or water containing toxic organic chemicals, such as solvents, pesticides, dioxins and polychlorinated biphenyl chemicals (PCB s), that cause interference or pass-through.
   14. Wastewater imparting color that cannot be removed by the treatment process, such as, but not limited to, dye wastes and vegetable tanning solutions, which consequently impart color and/or unsettleable solids to the treatment plant's effluent, thereby violating any applicable NPDES or AZPDES permit.
   15. Wastewater containing any radioactive wastes or isotopes, except in compliance with applicable state or federal regulations.
   16. Detergents, surface-active agents or other substances that may cause excessive foaming in the POTW.
   17. Pollutants that will cause excessive corrosive structural damage to the POTW beyond that which is normally associated with the treatment of wastewater.
   18. Water or wastes that exceed the categorical pretreatment limits listed in 40 C.F.R. Ch. 1, Subch. N, pt. 405-471.
   19. Biochemical Oxygen Demand greater than 300 mg/1 and/or Total Suspended Solids greater than 350 mg/1 by weight, unless approved by the Public Works Director through an industrial wastewater discharge permit.
   20. Materials which exert or cause:
       1. Unusual concentration of inert suspended solids (such as, but not limited to, fuller's earth, lime slurries and lime residues) or of dissolved solids (such as, but not limited to, sodium chloride and sodium sulfate); or,
       2. Unusual BOD, chemical oxygen demand, or chlorination requirements in such quantities as to constitute a significant load on the sewage treatment plant.
   21. Other Prohibited Pollutants:
       1. Inflows of any storm water, runoff, ground water, street drainage, root drainage, yard drainage, water from fountains, ponds, pools, and lawn sprays are not permitted to be discharged with the POTW; or,
       2. Any single-pass cooling or heating water, any blow-down or bleed water from HVAC, which causes problems with hydraulic loading are not permitted.
   22. An increase in process water or any attempt to dilute a discharge, as a partial or complete substitute for adequate treatment, to achieve compliance with a discharge limit, unless expressly authorized by an applicable pretreatment standard or requirement.
   23. Any item containing any combined quantity of substances having any characteristics described in this section.
   24. Healthcare-related waste that shall not be discharged to the sewer system by any means:
       1. Any potential liquid wastes generated in the rooms of patients who are isolated because of a suspected or diagnosed communicable disease; or,
       2. Recognizable portions of the human anatomy; or,
       3. Equipment, instruments, utensils and other materials of a disposable nature that may harbor or transmit pathogenic organisms, and that are used in the rooms of patients with a suspected or diagnosed communicable disease, which by its nature requires their isolation by public health agencies; or,
       4. Wastes excluded by the other provisions of this code, state laws and or federal regulations.
   25. Any person engaged in a manufacture or process, including deactivation of processes, in which cyanide or cyanogen compounds are used, shall have each and every room where said compounds are stored or used so constructed that none of said compounds can escape therefrom by means of any building sewer or drain or otherwise enter, either directly or indirectly, any sanitary sewer or storm sewer except as specifically permitted in this section. Any person wishing to discharge cyanide or cyanogen compound-bearing wastes to a sanitary sewer shall submit detailed plans of the waste collection system and, where necessary of a pretreatment system to the Director of Public Works for his approval. Subsequent to receiving the approval of the Director and to the issuance of a permit to the town for said applicant by the Arizona Department of Environmental Quality (A.D.E.Q.) certain dilute wastes may be discharged to the sanitary sewer providing the cyanide and cyanogen compound in the waste does not at any time exceed the concentrations set forth in this section. The maximum rate at which such wastes may be discharged to the sewer shall be fixed by a specific agreement between the town and such person. Discharge without such agreement is prohibited.
   26. Recreational vehicle wastewater shall be tested and treated as necessary to meet the requirements in this section.
   27. Future revisions in state or federal law regarding the operation and protection of POTWs that may also affect the provisions of 12-8-9 shall supersede any requirements of this section, and will become enforceable under the provisions of this section, and will become enforceable under the provisions of this chapter.
   28. Wastewater causing, alone or in conjunction with other sources, the treatment plant’s effluent to fail a toxicity test.
7. – 6 – 8 Local Limits
8. All persons owning or operating facilities or engaged in activities that will or may reasonably be expected to result in pollutants entering the Town of Patagonia sanitary sewer system or affecting the sanitary sewer system or affecting the POTW, shall undertake all practicable best management practices identified by the Director of Public Works to minimize the discharge of pollutants. Such measures shall include the requirements imposed by this chapter, any applicable NPDES or AZPDES permits, and any written guidelines promulgated for general use by the Director of Public Works.
9. The Director of Public Works shall have the authority to:
10. Establish limitations for individual users or classes of users for various pollutants, materials, waters or wastes that can be accepted into the sanitary sewer system;
11. Specify those pollutants, materials, waters, or wastes that are prohibited from entering the sanitary sewer;
12. Identify those pollutants, materials, waters, or wastes that shall be controlled with best management practices; and
13. Require individual users or classes of users to implement best management practices for any pollutant.
14. All affected individual users or classes of users shall comply with the prohibitions and effluent limitations established pursuant to this section, and with any best management practices required by the Director of Public Works.
15. All prohibitions and effluent limitations so established and all best management practices identified by the Director of Public Works will be placed on file with the Town Clerk and will become effective and enforceable on the thirty-first (31st) day after the date of filing. (Ordinance Adoption)
16. – 6 – 9 Town’s Right of Revision

The Town reserves the right to establish new, additional or more stringent standards or requirements on discharges to the POTW.

1. – 6 – 10 Pretreatment Facilities
2. Pretreatment Facilities.
3. Users shall provide wastewater treatment as necessary to comply with this article and shall achieve compliance with all categorical pretreatment standards, local limits, and the prohibitions set out in Section 12-8-9 of this chapter within the time limitations specified by EPA, the state, or the Director of Public Works, whichever is more stringent.
4. Where necessary, as determined by the Director of Public Works, the owner shall provide, at his or her expense, the pretreatment needed resulting from the following:
   * 1. BOD of over 300 mg/1 and suspended solids over 350 mg/1 by weight;
     2. Objectionable constituents above the levels listed under the discharge limitations; and/or,
     3. Excessive quantities and rates of discharges of such waters or wastes.
5. Whenever deemed necessary, the Director of Public Works may require users to restrict their discharge during peak flow periods, designate that certain wastewater be discharged only into specific sewers, relocate and/or consolidate points of discharge, separate sewage waste streams from industrial waste streams, and such other conditions as may be necessary to protect the POTW and determine the user's compliance with the requirements of this article.
6. The Director of Public Works may require any user discharging into the POTW to install and maintain, on their property and at their expense, a suitable storage and flow-control facility to ensure equalization of flow. A wastewater discharge permit may be issued solely for flow equalization.
7. Pretreatment method and plans:
8. The method of pretreatment and plans, specifications, and any other pertinent information relating to proposed pretreatment facilities shall be prepared and sealed by a professional engineer familiar with such treatment, and registered in the state;
9. Two copies shall be submitted to the Town’s Public Works Department, who shall review each submittal and shall be the sole approving authority;
10. The review of such plans and operating procedures shall in no way relieve the user front the responsibility of modifying such facilities as necessary to produce a discharge in compliance with the provisions of this article; and,
11. Installation shall be at the user’s expense unless the town has been contracted for treating the wastes.
12. Maintenance and inspection of pretreatment facilities:
13. Where pretreatment facilities are provided for any industrial waters or wastes, the owner shall maintain them continuously in satisfactory and effective operation, at the owner’s expense; and,
14. Any such pretreatment facilities may also be subject to inspection by the town.
15. Grease traps and grease interceptors:
16. The Director of Public Works may require users to install grease, lint, sand/oil interceptors, oil/water separators, hair or grease trap(s) as needed for the proper handling of wastewater containing excessive amounts of fats, oils, grease, lint or sand; except that such interceptors or traps shall not be required for residential users. Requirements for the proper handling of fats, oils, grease, lint, sand and solids in wastewater are as follows:
17. Grease interceptors and grease traps shall be required, installed, and maintained as specified in this chapter and the Director of Public Work’s policies and procedures for the sizing and cleaning of interceptors and traps for the food service industry.
18. Grease traps and grease interceptors shall be provided by all new and or existing laundries, restaurants, service stations, auto repair shops, car washes and other industrial user s when, in the opinion of the town, grease traps or interceptors are necessary.
19. Generally, no facility shall discharge into the POTW any wastewater containing any fat, mineral, organic oil, grease or any waste that may form persistent oil emulsions more than 100 milligrams per liter by weight, or any sand or flammable wastes.
20. Such grease traps and grease interceptors shall not be required for domestic users.
21. Facilities established prior to the execution of this chapter amendment will have one (1) year, from the execution date of this chapter, to conform with the requirements to have or install a grease trap or grease interceptor, as deemed necessary by the Director of Public Works, provided they comply with the discharge limitations established herein.
22. Facilities that cannot meet these standards, however, must install grease traps immediately, or arrange for offsite disposal of their grease.
23. All grease traps and grease interceptors shall be of a type and capacity approved by the town, and in compliance with the International Plumbing Code and shall be so located as to be readily and easily accessible for cleaning and inspection.
24. Where installed, all grease traps and grease interceptors shall be maintained by the industrial user, at his or her expense, in efficient operating condition at all times.
25. The owner shall keep written records and documentation of all cleaning, repair, calibration and maintenance required to demonstrate compliance. Such records shall be available for inspection by the Director of Public Works upon request.
26. The method for determining the size of traps or interceptors is the drainage fixture unit value. The minimum size for all interceptors is a capacity of fifteen hundred (1,500) gallons and the maximum size for all interceptors is a capacity of twenty-five hundred (2,500) gallons. Interceptors must be constructed with at least three (3) chambers. Sizing for all traps is a minimum of a fifty (50) gallon per minute one hundred (100) pound capacity with the flow control valve installed in a manner that provides access at all times. The appropriate size for interceptors and traps is determined as follows:
27. *Interceptor Sizing.* The interceptor shall be sized using the drainage fixture-unit value as defined in the following table. Using the drain outlet or trap size, these sizes are converted to discharge rates on the basis that one fixture-unit equals 7.5 gpm.

|  |  |  |
| --- | --- | --- |
| Fixture Outlet or  Trap Size (Inches) | Drainage Fixture-  Unit Value | Gpm Equivalent |
| 1 1/4 | l | 7.5 |
| 1 1/2 | 2 | I 5.0 |
| 2 | 3 | 22.0 |
| 2 1/2 | 4 | 30.0 |
| 3 | 5 | 37.5 |
| 4 | 6 | 45.0 |
| Floor Drains (All  Sizes) | 2 | 15.0 |
| Dishwashers | Double Size |  |

1. *Calculating Interceptor Size.* The formula to calculate the size of the interceptor is:
   * 1. Determine total fixture-unit value by multiplying fixture type count by drainage value;
     2. Total all values;
     3. Determine total flow by multiplying total value by flow rate of 3 gpm;
     4. Multiply total flow by 12; and
     5. Round up to the next nearest size interceptor.
2. *Requirements for Interceptors.* The interceptor shall be:
3. Constructed of impervious materials capable of withstanding abrupt and extreme changes in temperature;
4. They shall be of substantial construction, watertight, and equipped with easily removable covers;
5. Constructed with the appropriate traffic rated cover. The cover(s) shall be gastight and watertight and must not be marked with any wording indicating it is owned by the Town of Patagonia;
6. A minimum of fifteen hundred (1500) gallon capacity, three (3) chamber concrete container (fiber glass and/or other type material must be approved by the Director of Public Works;
7. Constructed with inlet piping with a ninety-degree (90°) elbow and minimum of an eighteen (18) inch down spout;
8. Constructed with outlet piping with a tee connection and a threaded cover with a minimum of an eighteen (18) inch down spout; and
9. Installed with a two (2) way clean-out within five (5) feet before and five (5) feet after the interception.
10. *Grease Trap Installation and Sizing.* Grease traps are allowed only when there are four (4) or fewer than four (4) fixtures used for food preparation. Any facility installing a dishwasher shall install a grease interceptor. For the purpose of sizing a grease trap, a fixture means the entire unit, e.g., a three (3) compartment sink is considered one unit. Grease traps must be installed as follows;
11. A grease trap shall be installed whenever a three (3) compartment sink is required by Santa Cruz County;
12. The minimum size grease trap to be installed shall be rated no smaller than fifty (50) gallon-per-minute with a one hundred (100) pound grease capacity; and,
13. A flow restriction valve shall be installed upstream of the grease trap and vented properly. If placed below floor level the flow restriction valve must be installed in a manner which allows for inspection and maintenance.
14. Except for domestic sources, users shall not install or replace equipment designed to convert garbage or solid waste into liquefied waste and introduce such waste into the POTW by means of a garbage grinder/disposal. Disposal of garbage and solid waste shall be disposed of as solid waste.
15. Users with the potential to discharge flammable substances may be required to install and maintain an approved combustible gas detection meter.
16. Grit interceptors:
17. The Director of Public Works may require users to install grease, lint, sand/oil interceptors, oil/water separators, hair or grease trap(s) as needed for the proper handling of wastewater containing excessive amounts of fats, oils, grease, lint or sand; except that such interceptors or traps shall not be required for residential users. Requirements for the proper handling of fats, oils, grease, lint, sand and solids in wastewater are as follows:
18. Grit interceptors shall be provided by all new and or existing laundries, service stations, auto repair shops, car washes and other industrial users when, in the opinion of the town, grit interceptors are necessary.
19. All grit interceptors shall be of a type and capacity approved by the town, and in compliance with the International Plumbing Code and shall be so located as to be readily and easily accessible for cleaning and inspection;
20. Where installed, all grit interceptors shall be maintained by the industrial user, at his or her expense, in efficient operating condition at all times; and
21. The owner shall keep written records and documentation of all cleaning, repair, calibration and maintenance required to demonstrate compliance. Such records shall be available for inspection by the Director of Public Works upon request.
22. Control manholes:
23. Where required by the town and to facilitate observation and sampling of wastes, the owner of any property served by a building sewer carrying industrial wastes shall install a suitable control manhole in the building sewer;
24. When required, the manhole shall be accessible and safely located, and shall be constructed in accordance with plans approved by the town;
25. The manhole shall be installed by the owner at the owner’s expense, and shall be maintained by the owner so as to be safe and accessible at all times.
26. – 6 –11 Disposal of Pretreatment Sludge

Any sludge or other material removed from the industrial waste by a pretreatment facility shall be disposed of in accordance with applicable federal, state and local laws.

1. – 6 –12 Significant Non-Compliance a Civil Violation
2. It shall be a civil infraction punishable pursuant to the Code of the Town of Patagonia for any person, enterprise, or corporation to violate any of the requirement of this Chapter which shall be considered significant non-compliance.
3. Significant non-compliance shall be considered any single, accidental discharge, upset, bypass or toxic overload caused by a user of the sewer system, or any single failure of any sewer system user to comply with the meaning or intent of this chapter, including failure to maintain any required pretreatment device, such as a grease trap or grease interceptor, upon first inspection by the town.
4. If a user of the sewer system is identified as being in significant non-compliance, the town may decide, at the discretion of the Director’ of Public Works, to implement compliance remedies commensurate to the violation.
5. Measures may include, but are not limited to:
6. Notice of violation;
7. Right of the town to suspend a business license;
8. Suspension or revocation of discharge permit;
9. Consent order;
10. Cease and desist order;
11. Emergency suspension;
12. Right to bring civil suits, including but not limited to injunctive relief and/or damages; and
13. A fine up to $500.
14. If a user originally identified as a non-significant industrial user during the initial survey or inventory becomes non-compliant, the town may direct such user to comply with the permitting requirements of a significant industrial user, until such time that the Director of Public Works deems this action no longer necessary.
15. – 6 –13 Severe Non-Compliance a Criminal Violation
16. Severe non-compliance shall be considered any willful violation of this code and any person who commits a violation of this chapter after having previously been found responsible by the Town Magistrate for committing two (2) or more civil violations of this chapter within a twenty-four (24) month period, whether by admission, by payment of the fine, by default, or by judgment after hearing shall be guilty of a class one misdemeanor. The Town Attorney is authorized to file a criminal misdemeanor complaint in the Magistrate Court against a habitual or severe non-compliance offender who violate this chapter. In applying the twenty-four (24) month provision, the dates of which the offender was found responsible shall be the determining factor, irrespective of the sequence of the commission of the offense.
17. Those POTW users identified as habitual non-compliers or in severe non-compliance shall be subject to the following remedies:
18. Reimbursement to the town for repairs;
19. Liens imposed on the property;
20. Removal of sewer connection;
21. Right to bring civil suits, including but not limited to, injunctive relief and/or damages;
22. Cease and desist order (immediate closure of facility); and
23. Criminal charges, including a fine of $2,500 for each uncorrected occurrence or failed inspection 30 days after the initial inspection, each day constituting a separate violation.
24. – 6 –14 Interference with Enforcement Procedure

Any person who interferes, prevents, or attempts to interfere or prevent, an individual employed by the Town or other person contracted for by the Town, front investigating an alleged violation of this article or from correcting or abating a violation of this article shall be guilty of a class three misdemeanor and shall be subject to thirty (30) days in jail, 1-year probation and $500.00 fine plus surcharge.